## 定义属性
模块 | 中文名称 | 分类码 | 英文名字 | 定义属性 | 属性类型 | 翻译脚本 | 创建属性脚本
物料属性 | 品牌 | A307 | Brand |  | string
物料属性 | 产品系列 | A307 | ProductLine |  | string
物料属性 | 过程连接 | A307 | ProcessConnection |  | string
物料属性 | 膜片材质 | A307 | MebraneMaterial |  | string
物料属性 | 探头连接 | A307 | ProbeConnection |  | string
物料属性 | 传感器量程 | A307 | SensorRange |  | string
物料属性 | 连接长度 | A307 | ConnectionLength |  | string
物料属性 | 信号输出 | A307 | OuputSignal |  | string
物料属性 | 显示及操作 | A307 | DisplayOperation |  | string
物料属性 | 电缆入口 | A307 | CableEntry |  | string
物料属性 | 精度 | A307 | Precision |  | string
物料属性 | 填充油 | A307 | OilFill |  | string
物料属性 | 认证 | A307 | Certificate |  | string
物料属性 | 密封圈 | A307 | SealingRing |  | string

## Range值
固定属性 | 分类码 | 英文名字 | 定义属性 | - | 值的前台显示 | 值(不能有中文) | Range值脚本 | Range值翻译
mod attr | A307 | Brand |  | add range | E+H | 1181
mod attr | A307 | Brand |  | add range
mod attr | A307 | ProductLine |  | add range | FMB52-BA | productline1
mod attr | A307 | ProductLine |  | add range | FMB52-NA | productline2
mod attr | A307 | ProductLine |  | add range
mod attr | A307 | ProcessConnection |  | add range | 螺纹 ISO228 G1-1/2, 316L | processconnection1
mod attr | A307 | ProcessConnection |  | add range
mod attr | A307 | MebraneMaterial |  | add range | 哈氏合金C | mebranematerial1
mod attr | A307 | MebraneMaterial |  | add range
mod attr | A307 | ProbeConnection |  | add range | PE电缆 | probeconnection1
mod attr | A307 | ProbeConnection |  | add range
mod attr | A307 | SensorRange |  | add range | 400mbar/40kPa, 4mH2O 过压极限值8bar/800kPa | sensorrange1
mod attr | A307 | SensorRange |  | add range
mod attr | A307 | ConnectionLength |  | add range | 4500mm | connectionlength1
mod attr | A307 | ConnectionLength |  | add range | 3400mm | connectionlength2
mod attr | A307 | ConnectionLength |  | add range | 3500mm | connectionlength3
mod attr | A307 | ConnectionLength |  | add range | 3600mm | connectionlength4
mod attr | A307 | ConnectionLength |  | add range | 3700mm | connectionlength5
mod attr | A307 | ConnectionLength |  | add range | 3800mm | connectionlength6
mod attr | A307 | ConnectionLength |  | add range | 3900mm | connectionlength7
mod attr | A307 | ConnectionLength |  | add range | 4000mm | connectionlength8
mod attr | A307 | ConnectionLength |  | add range | 4100mm | connectionlength9
mod attr | A307 | ConnectionLength |  | add range | 4200mm | connectionlength10
mod attr | A307 | ConnectionLength |  | add range
mod attr | A307 | OuputSignal |  | add range | 2线,4~20mA HART | ouputsignal1
mod attr | A307 | OuputSignal |  | add range
mod attr | A307 | DisplayOperation |  | add range | 本地显示及操作 | displayoperation1
mod attr | A307 | DisplayOperation |  | add range
mod attr | A307 | CableEntry |  | add range | 电缆密封套 M20, IP66/68/6P | cableentry1
mod attr | A307 | CableEntry |  | add range
mod attr | A307 | Precision |  | add range | 标准级, ±0.2% | precision1
mod attr | A307 | Precision |  | add range
mod attr | A307 | OilFill |  | add range | 合成油, FDA | oilfill1
mod attr | A307 | OilFill |  | add range
mod attr | A307 | Certificate |  | add range | ATEX II 1/2G Ex ia IIC T6 Ga/Gb | certificate1
mod attr | A307 | Certificate |  | add range | NEPSI Ex ia IIC T6 | certificate2
mod attr | A307 | Certificate |  | add range